## Failure Mode Table
Event rate per year' is the county-wide (or system-level) rate lambda unless the Rate basis column says otherwise. F = lambda/8760 (your original convention). G = F x area scaling factor 0.0831 for area-distributed hazards; per-customer power indices are already per node, so G = F. N = P(>=1 event in an hour) = 1 - exp(-H). Q/R: per-edge (or per-node) hourly rate = H divided by the number of applicable edges from the Assumptions sheet (15 edges assumed; 9 freeway, 4 WUI, 1 SFHA). AV share: change Assumptions!C9 only - rows 1-3 scale by (1 - C9), rows 4-6 by C9. Evidence status: Empirical = number taken directly from a source; Derived = computed from sourced inputs (formula shown); Assumption = judgement; GAP = no defensible source found.
Number | Hazard | Type | Severity | Event rate per year (lambda) | P per hour (before scaling) = lambda/8760 | P per hour (after scaling) | Duration | Source | Notes | Rate basis / unit | Scaling applied | P(>=1 event in hour) after scaling = 1-exp(-G) | Evidence status | Duration basis | Applicable edges (count, from Assumptions) | P per hour PER EDGE (or per node) after scaling = H / Q | Priority | Feasibility
1 | Traffic incident - human driver (crash + non-crash: disablement, debris/spill, stall) | edge | low - reduced capacity (shoulder or <= 1 lane) | 698222.0725 | 79.7057 | 6.6233 | 0.25-0.4 h. LA FSP FY2020-21 average on-scene assist time 15.1 min (collision 24.4, mechanical 18.8, flat 17.8, debris 10.4, out of gas 12.4 min) + ~2.5-10 min wait for the truck; Caltrans 2025 manual: minor incidents < 30 min. Giuliano 1989 (37 min mean incl. detection) is an upper bound. | California FSP MIS Annual Report FY2020-21 (Mauch & Skabardonis 2022), Los Angeles tables [S58]; Metro OIG FSP review 2020 [S59]; Caltrans Traffic Ops Manual Ch.130 (2025) duration classes [S61]; PeMS CHP incidents Q1 2025 (user export) [S62]; Caltrans 2022 Crash Data, LA County [S2]; TIMS county totals via [S3]; Giuliano 1989 (secondary) [S1]; Lindley/Goolsby capacity-loss table via ROSAP DOT-26855 [S54]. | TIERS ARE MUTUALLY EXCLUSIVE: lambda_1 = (all reported incidents) - lambda_2 - lambda_3, so an incident is counted in exactly one of rows 1-3. All reported incidents = police-reported crashes (40,449 F+I / (1-0.666 PDO share) = 121,000) / 0.164 (collision share of LA FSP assists, FY2020-21) x human VMT share -> ~0.70 M/yr county-wide (was ~1.05 M with Giuliano 1989's 11%); rows 2-3 remove only ~3,100 of these (0.4%). WHAT IS IN ROW 1: (a) every non-fatal crash (PDO or injury) that does NOT block a lane for >= 30 min - i.e. shoulder-only crashes (59% of freeway crashes) and short lane blockages (most of the remaining 41%: mean lane-closing crash duration 38-66 min but the SigAlert count captures only those the CHP declares); (b) all non-crash incidents (disablements 80%, debris/spills/pedestrians/police 9%) that are not SigAlerts. NOT in row 1: SigAlert-class blockages (row 2) and fatal crashes (row 3). Cross-checks (freeways carry ~50% of VMT, so row 1 implies ~350,000 freeway incidents/yr): PeMS CHP-logged incidents, District 7, 2025 (Q1+Q3+Q4; Q2 is a data gap) = 4.08 per MVMT -> ~145,000/yr on LA freeways (LOWER bound - CHP logs only); LA FSP 237,752 assists in FY2020-21 during service hours only; I-880 probe study ~100 incidents/MVMT incl. unreported short stops (upper bound, 3.5 M/yr). Capacity effect (Lindley 1986 table): shoulder disablement keeps 0.95-0.99 of capacity, shoulder crash 0.81-0.93, one lane blocked 0.35-0.78 (2-8 directional lanes), two lanes blocked 0.00-0.63; Goolsby: 1 of 3 lanes blocked = -50% capacity. Split for simulation: ~90% of incidents are shoulder-only (capacity x0.81-0.99), ~10% in a travel lane (x0.35-0.78; Assumptions C32 = LA FSP 10.3%; range 4-18%). Recurring congestion is NOT in this row - see row 1c. After scaling, ~6.6 events/h in the model area (~0.44/h per edge with 15 edges) -> sample count per hour from Poisson. | county-wide reported incidents / yr (all roads, all types) | x area factor (0.0831) | 0.99867 | Derived | Empirical (LA FSP FY2020-21 on-scene times) | 15 | 0.44156
1b | Weather - rain day (reduced capacity on all edges; 2-3x incident rate) | all edges (regional, same day) | low - reduced capacity, elevated incident rate | 34.1 | 0.0038927 | 0.0038927 | Rain-day: treat as 6-24 h per event (34 rain days/yr but ~15 in of rain -> most days are light, a few hours of rain). Nov-Apr carries 95% of rainfall. | NOAA 1991-2020 normals, downtown LA: 34.1 days/yr >= 0.01 in [S48]; Skabardonis et al. 1995: 3.5 accidents/shift on rainy days vs 1.5 clear (I-880) [S4]; FHWA: bad weather = 15% of congestion [S49]; LA County Hazard Mitigation Plan (95% of rain Nov-Apr) [S52]. | Rain is a REGIONAL common-cause event: on a rain day every edge loses some capacity and incident rows 1-6 should be multiplied by ~2-3 (I-880: 2.3x accidents per shift on rainy days). Not area-scaled (weather covers the whole model region). Capacity/speed reductions for rain are tabulated in HCM 2010 Ch. 10/11 weather adjustment factors (not extracted here - GAP for exact CAF values). Seasonality: concentrate the 34 days in Nov-Apr (LA County: 95% of rain in that window). | rain days / yr (downtown LA normals) | none (per-edge or per-fleet basis; see notes) | 0.0038851 | Empirical (frequency) / Assumption (duration, multiplier) | Assumption | n/a (system / regional / fleet event) | 0.0038927
1c | Recurring congestion / bottlenecks (deterministic, not a random failure) | edge (freeway edges in peak) | low - reduced speed/capacity, scheduled | n/a (deterministic) | n/a | n/a | Weekday AM (6-10) and PM (15-19) peaks; Caltrans D7 Q1 2022: 23 million vehicle-hours of delay, 98% in LA County, on 8.5 billion freeway VMT per quarter. | FHWA sources of congestion: bottlenecks 40%, incidents 25%, weather 15%, work zones 10%, signals 5%, events 5% [S49]; Caltrans District 7 Mobility Performance Report Q1 2022 [S50]; Caltrans PeMS for edge-level speed profiles (not extracted). | Not a stochastic failure mode, so no lambda: recurring congestion is 40% of US congestion (FHWA) and is predictable by time of day. Recommend a deterministic hourly capacity/speed profile per freeway edge from Caltrans PeMS, and let rows 1, 1b, 2-6 be the random component on top of it. If you must have a rate: every weekday peak hour on every freeway edge (~2,000 h/yr per edge, P = 1 in those hours). | deterministic time-of-day profile | n/a | n/a | Empirical (nature) - no rate needed | Empirical (Caltrans D7 MPR) | all freeway edges | n/a
2 | Traffic incident - human driver | edge | mid - no capacity | 2189.75 | 0.24997 | 0.020772 | 0.5-2 h, central ~1 h (Caltrans 2025 manual 'intermediate' incident: 30 min-2 h; SigAlert threshold >= 30 min; I-710 big-rig study 58-76 min as a check). | CHP SigAlert counts via Crosstown LA [S5]; Caltrans Traffic Ops Manual Ch.130 (2025) [S61]; I-710 Big Rig FSP evaluation 2005 (secondary) [S6]. | lambda = SigAlerts in LA County (>=1 lane blocked >= 30 min): 2,515 in 2018 (2,239 in 2016), 11 freeways only (I-5 344, US-101 286, I-405 284), MINUS the 210 fatal freeway crashes/yr (Caltrans 2022), which are assumed to always trigger a SigAlert and are counted in row 3 instead -> 2,305 x human share. Row 2 therefore = non-fatal crash AND non-crash (stall, spill, debris, hazmat, police) blockages >= 30 min on freeways. Arterial long blockages have no count and remain inside row 1 (gap). This is 'major lane blockage', not certified full closure; full-direction closures are a subset (Giuliano: 5% of freeway accidents close >=3 lanes, 8% close 2 lanes). Arterials are not covered - SigAlerts are freeway events, so the area scaling assumes freeway density in the model area is the county average. SigAlerts already include NON-CRASH causes (stalled trucks, spilled loads, debris, police activity, flooding), so this row satisfies your request to include non-crash events at the mid-severity level. ~20% of LA County SigAlerts involve trucks (I-710 study: 82%). | county-wide freeway SigAlerts / yr | x area factor (0.0831) | 0.020558 | Empirical | Definitional (Caltrans 2025 intermediate class) / Empirical (I-710 FSP 2005) | 9 | 0.002308
3 | Traffic incident - human driver | >=3 edges | high - major closure / diversion | 904.875 | 0.1033 | 0.0085836 | 3.3 h (Caltrans FY2014-15 statewide major incidents: 3 h 17 min average; fatal 3.1-3.9 h, big rig 3.6-4.8 h, hazmat 3.6-5.6 h). Caltrans 2025 manual: major > 2 h. | FARS 2020-2024 LA County (user's slide 8; FARS API blocked from sandbox) [S7]; Caltrans Mile Marker Sep 2015 major-incident clearance [S60]; Caltrans Traffic Ops Manual Ch.130 (2025) [S61]; Caltrans quick-clearance PI 2010 (secondary) [S8]; OTS LA County 2022/2023 rankings [S9]. | lambda = fatal crashes/yr in LA County (952.5 avg 2020-24; ~2.6/day) x human share; these are excluded from rows 1 and 2, so the three tiers partition all incidents. Fatal crashes trigger multi-hour full closures for investigation and force diversion onto adjacent edges. Definitional caveat: many fatal crashes are on arterials and close 1 edge, not 3 - so this is an upper bound for '>=3 edges'. If you need strictly 3+ edges, use fatal crashes on freeways only: 210 fatal crashes on LA County state freeways in 2022 (Caltrans [S2]). Cross-check: TIMS/OTS report 868 traffic deaths in LA County in 2022. Hourly distribution from your FARS slide (peak 20-23 h ~7%/h) can modulate this rate. | county-wide fatal crashes / yr | x area factor (0.0831) | 0.0085469 | FARS Data | Empirical (Caltrans FY2014-15 major-incident mean) | 15 | 0.00057224 | 1
4 | Traffic incident - AV | edge | low - reduced capacity | 16489.7251 | 1.8824 | 0.15642 | Same as row 1 (0.25-0.4 h; LA FSP 15.1 min on scene); no AV-specific clearance data. | Waymo Safety Impact Hub, data through Mar 2026 [S10]; Kusano et al. 2025, Traffic Injury Prevention (56.7M RO miles; LA 6.4M) [S11]. | lambda_AV = lambda_human(row 1) x AV VMT share (5%) x AV/human crash-rate ratio (police-reported any crash: 2.1/4.68 = 0.449). Replaces the earlier '0.449 x row 1' (which implicitly assumed 100% AV VMT). Ratio is all-locations; LA-specific ratios exist only for injury/airbag/serious outcomes. Row 1 is now multiplied by (1 - AV share) so total VMT is conserved; the AV formula divides that back out to the full-fleet base. Because row 1 now includes non-crash disablements, applying the CRASH ratio here assumes AV mechanical/stall incidents scale the same way (Assumption); AV-specific stalls are in row 7. Waymo LA exposure: 51.8M rider-only miles through Mar 2026. | county-wide AV crashes / yr (5% AV VMT) | x area factor (0.0831) | 0.1448 | Derived | Assumption (= row 1) | 15 | 0.010428
5 | Traffic incident - AV | edge | mid - no capacity | 43.3378 | 0.0049472 | 0.0004111 | Same as row 2 (0.5-2 h, central ~1 h). | Waymo Safety Impact Hub - Los Angeles any-injury 0.91 vs 2.42 IPMM; airbag 0.27 vs 1.19 [S10]; Kusano et al. 2025 [S11]. | lambda_AV = lambda_human(row 2) x 5% x 0.376 (LA any-injury ratio, hub through Mar 2026, 51.8M LA miles). Replaces the 0.214 (0.6/2.80) ratio you flagged as not defensible. Alternative: LA airbag-deployment ratio 0.227. Caveat: injury-crash ratio is a proxy for lane-blocking-crash ratio; blockage caused by AV stalls (not crashes) is in row 7. | county-wide AV SigAlert-class events / yr (5% AV VMT) | x area factor (0.0831) | 0.00041102 | Derived | Assumption (= row 2) | 9 | 4.5678e-05
6 | Traffic incident - AV | >=3 edges | high - major closure / diversion | 7.1437 | 0.0008155 | 6.7766e-05 | Same as row 3 (3.3 h) - possibly longer because AV crashes attract extended investigation (NHTSA SGO reporting). | Kusano et al. 2025 - LA serious injury+ -85% [39%, 99%] [S11]; Waymo Hub LA serious injury+: 0.00 vs 0.15 IPMM [S10]. | lambda_AV = lambda_human(row 3) x 5% x 0.15. 0.15 is the conservative (upper) LA serious-injury ratio; the hub's all-locations ratio is 0.01/0.23 = 0.04 and LA shows zero events in 51.8M miles. Wide confidence interval - treat as order of magnitude. | county-wide AV fatal-class events / yr (5% AV VMT) | x area factor (0.0831) | 6.7763e-05 | Derived | Assumption (= row 3) | 15 | 4.5177e-06 | 1
7 | Traffic incident - AV: remote operating center / connectivity down -> vehicle needs tow | edge (many vehicles simultaneously) | mid - stalled vehicles block lanes | 1 | 0.00011416 | 9.486e-06 | Stalls: >= 2 min by definition; most self-resolve (96%); manual retrievals ~1-2 h (Cruise 28 Jun 2022: 'a couple of hours' until staff moved cars). Service suspension: ~6 h to next day (Waymo 20 Dec 2025). | Waymo CPUC filing 30 Jan 2026 on the 20 Dec 2025 SF outage [S12]; TechCrunch on Cruise 28 Jun 2022 stall [S13]; LA Times / SF Standard on Cruise 11 Aug 2023 Outside Lands stalls [S14]; Cruise vehicle-retrieval events via SF Standard [S15]. | SCENARIO ROW - no LA statistics exist. Documented fleet-wide stall events in SF: 28 Jun 2022 (Cruise, >6 vehicles, ~2 h, server issue); 11 Aug 2023 (Cruise, ~10 vehicles, cellular bandwidth); 20 Dec 2025 (Waymo, 829 vehicles in outage area, 1,593 stops >= 120 s in 11 h = 1.9 stops/vehicle, >96% resolved autonomously, <4% (~60) manual retrievals, 2 moved by first responders). That is ~3 events in 3.5 years for one city -> lambda ~ 1/yr placeholder (Assumption). Baseline (non-event) retrievals: Cruise logged 177 'vehicle retrieval events' Jan-Jul 2023 with a ~300-400 vehicle fleet -> ~0.8-1.0 retrievals per vehicle-year. Per event, assume 2-3% of the active fleet needs a tow (60/829 = 7% under extreme conditions; 6-10 vehicles of ~100-300 for Cruise). Correlate this row with power rows 9-12: the Dec 2025 stalls were caused by a grid outage darkening >7,000 signals. | fleet-wide connectivity/remote-assist disruptions / yr (city scale) | x area factor (0.0831) | 9.4859e-06 | Assumption | Empirical (sparse: 3 SF events) | 15 | 6.324e-07
7b | Traffic incident - AV: no battery (state-of-charge depletion) -> vehicle needs tow | edge | low - single vehicle stalled | 1469.9412 | 0.1678 | 0.013944 | Tow response: FSP average wait 7 min on LA freeways; AAA typical 30-60 min. Assume 0.5-1 h lane occupancy if stalled in lane. | TIME / AAA 2023 EV roadside data [S16]; AAA 2024 (215,000 EV calls, 0.8% of events) [S17]; Metro FSP [S18]. | GAP for a managed robotaxi fleet. Only consumer-EV data exist: AAA served 160,000 EVs in 2023 (0.5% of 32M roadside events); 4% of EV calls = ran out of charge -> ~6,400 out-of-charge events/yr nationally (~0.002 per EV-year assuming ~3M EVs). For a fleet with depot charging and SOC-aware dispatch this is better modeled as a CONSEQUENCE of depot failure (rows 9-12: depot dark -> vehicles below SOC threshold strand), not an independent hazard. Suggest: P(strand ¦ depot outage > 4 h) x fleet share, or omit as an independent row. | per vehicle-year (consumer EV proxy only) | x area factor (0.0831) | 0.013847 | GAP | Empirical (FSP/AAA response times) | 15 | 0.00092959
8 | Traffic incident - AV: amplifier - obstruction of emergency response | edge (conditional on emergency) | amplifier - delays clearance of other hazards | 91.25 | 0.010417 | 0.010417 | Obstruction 0.5-30 min; typical 'several minutes' (documented: 1 min, >2 min, >8 min, 30 min). Use +5 / +15 / +30 min added to the affected hazard's duration. | Mission Local - 55 SFFD 'Autonomous Vehicle Incident' reports as of 8 Aug 2023 [S19]; SFMTA CPUC status conference 7 Aug 2023 (~600 reported AV incidents since launch; 'likely a fraction') [S20]; SF Standard fleet sizes (Cruise ~300 night/100 day, Waymo ~250) [S15]. | Empirical but SF-specific and an undercount: 55 SFFD reports in 220 days (1 Jan-8 Aug 2023) = ~91/yr with ~550 driverless vehicles -> ~0.17 first-responder-interference incidents per vehicle-year. Scale to your fleet: lambda = 0.17 x (AV fleet size in model). Not area-scaled (fleet-based). Waymo's LA fleet is ~700-900 vehicles (2025-26), so LA-wide ~120-150/yr if SF rates hold; Waymo-only rates are likely lower than the 2023 Cruise-heavy mix. Model as a conditional multiplier on clearance time for rows 1-3, 9-10, 13-14 when an AV is present at the scene, not as an independent failure. | incidents / yr per ~550-vehicle fleet (SF 2023) | none (per-edge or per-fleet basis; see notes) | 0.010363 | Empirical | Empirical (SFFD report narratives) | n/a (system / regional / fleet event) | 0.010417
9 | Power outage - unplanned (equipment, weather, third party), excluding major event days | node | low - depot dark | 0.9037 | 0.00010316 | 0.00010316 | 1.8 h (CAIDI 107 min, 10-yr avg 2016-2025; 2024: 111 min; 2025: 121 min). | SCE 2025 Annual Electric Reliability Report, Tables 1 & 3 (SAIFI/CAIDI unplanned, MED excluded) [S21]; SCE 2024 report [S22]. | Per-customer index -> already a per-node rate; no area scaling. SAIFI excl. MED: 0.90/customer-yr (10-yr avg 2016-2025 = 0.904); 2023 0.937, 2024 0.901, 2025 0.963. Your draft used 1.4 (= 2025 SAIFI INCLUDING MEDs) - that double-counts row 10. District values for LA County SCE districts (Table 6 of the report) range roughly 0.5-1.5; use them if node locations are fixed. System-level rate for 10 independent nodes = 10 x 0.90 = 9.0 depot outages/yr. Note LADWP serves the City of LA (different reliability; not covered here) - GAP if any node is inside LADWP territory. | interruptions per customer-year (per node) | none (per-node index); system = x10 nodes | 0.00010316 | Empirical | Empirical (SCE CAIDI excl. MED) | per node (x1) | 0.00010316
10 | Power outage - major event day (storms, windstorm-PSPS combinations, substation loss) | node (often multi-node) | mid - depot dark for many hours | 0.1834 | 2.0936e-05 | 2.0936e-05 | 8.6 h mean (MED-attributable CAIDI = MED SAIDI / MED SAIFI = 94.8 min / 0.183 = 517 min, 10-yr avg 2016-2025); 2023: 202 min; 2024: 652 min; 2025: 1,004 min. Heavy tail: on 7 Jan 2025, 52% of 731k affected customers were out < 1 h but 19% > 1 day and 2.5% >= 7 days. | SCE 2025 Annual Electric Reliability Report Tables 1, 2, 17 [S21]; SCE 2024 report Table 2 (5 MEDs, 4 PSPS-driven) [S22]. | MED-attributable per-customer rate = SAIFI(incl. MED) - SAIFI(excl. MED) = 1.088 - 0.904 = 0.18 interruptions/customer-yr (10-yr avg of Table 3; SCE Table 1 rounding gives 1.09 - 0.90 = 0.19). Year-to-year: 2023 0.099; 2024 0.089; 2025 0.427 (21 MEDs, 15 in January 2025 windstorm/fires). Your draft's lambda = 6 was the COUNT of MED days (2023), not a per-node rate - MED days are system-wide days, most of which do not touch any given customer. MED outages are spatially correlated: model as a system event with rate ~5-21 MED days/yr and P(node affected ¦ MED) ~ 0.18/(MED days) ~ 1-4%. PSPS days are counted here when they exceed the MED threshold (T_MED = 2.04 min daily SAIDI in 2025), so avoid double counting with row 12. | MED-attributable interruptions per customer-year (per node) | none (per-node index); system = x10 nodes | 2.0936e-05 | Derived | Derived (SCE SAIDI/SAIFI differences; Table 17 distribution) | per node (x1) | 2.0936e-05 | 1
11 | Power outage - planned maintenance | node | planned - depot dark, schedulable | 0.31133 | 3.554e-05 | 3.554e-05 | 5.0 h mean (planned CAIDI: 2023 330 min; 2024 247 min; 2025 323 min). Customers notified in advance. | SCE 2025 Annual Electric Reliability Report Table 7 (planned + unplanned) minus Table 3 (unplanned) [S21]. | Derived from SCE's own indices: planned SAIFI = 0.31/customer-yr (avg 2023-25: 0.332, 0.349, 0.253); planned SAIDI ~82-110 min/yr. Replaces the qmerit blog value (1/yr). SCE notes 2022-2025 planned indices use a new meter-data method and are not comparable with earlier years. Planned outages are announced and typically daytime weekday - consider scheduling them deterministically rather than as Poisson arrivals. | planned interruptions per customer-year (per node) | none (per-node index); system = x10 nodes | 3.554e-05 | Derived | Derived (planned SAIDI / planned SAIFI) | per node (x1) | 3.554e-05
12 | Power outage - PSPS (public safety power shutoff) | >=3 nodes | high - multiple depots dark >= 1 day | 5 | 0.00057078 | needs q | 24-48 h typical; restoration <= 6-8 h after the weather 'period of concern' ends (SCE); Jan 2025 events lasted several days for some circuits. | SCE 2026 PSPS Action Plan (events/yr: 12 in 2020, 8 in 2023, 20 in 2024, 14 in 2025; restoration intervals) [S23]; CPUC PSPS post-event reports 2024 (LA County events) [S24]; SCE 2025 reliability report Table 17 (Jan 2025 duration distribution) [S21]. | lambda = PSPS de-energization events touching LA County ~5/yr (2024 count; SCE system-wide 8-20/yr). G = lambda/8760 x q where q = P(>=3 of your 10 nodes are on de-energized circuits ¦ event). q is a GAP: only HFRA circuits (foothills, Santa Clarita, Malibu, Antelope Valley edges) are PSPS-eligible; urban basin depots have q ~ 0. Look each node up on SCE's PSPS circuit map. Oct 2024 event de-energized 11,381 LA County customers; Jan 7-9 2025 event affected ~731k SCE customers (weather + PSPS) - the tail case. Do not also count these days in row 10. | PSPS events touching LA County / yr x q | x q (P(>=3 nodes ¦ PSPS event)) - GAP | n/a | Empirical (rate) / GAP (q) | Empirical (SCE action plan; Table 17) | n/a (system / regional / fleet event) | needs q
13 | Wildfire - >= 1 edge closed >= 24 h | edge | mid - edge closed for days to months | 1.3333 | 0.00015221 | 1.2648e-05 | 1 day to 4+ months; median ~1-2 weeks. Examples: Route Fire 2022 I-5 full closure ~1 day then lane closures ~2 weeks; Bridge Fire 2024 SR-39/SR-2 weeks; Palisades 2025 PCH closed 7 Jan-23 May 2025 (~4.5 months; partial Feb). | CAL FIRE incident archives 2020-2025, LA County entries [S25]; Caltrans D7 Route Fire releases [S26]; AP/ABC7 Hughes Fire I-5 closure [S27]; Fox Weather / Governor's office PCH reopening [S28]; LA Times Bobcat Fire SR-2 closure [S29]; Caltrans emergency road closures dataset (user's source) [S30]. | Derived count of LA County fires that closed a state highway or major arterial >= 24 h, 2020-2025: Bobcat 2020 (SR-2, SR-39, weeks), Lake 2020 (Lake Hughes Rd), Route 2022 (I-5), Bridge 2024 (SR-39/SR-2), Franklin 2024 (PCH, days), Palisades 2025 (PCH, months), Eaton 2025 (Altadena arterials, weeks), Hughes 2025 excluded (I-5 closed only hours) -> ~8 in 6 yr = 1.3/yr. Upper bound: LA County fires >= 1,000 acres 2020-25 = 13 (2.2/yr); >= 300 acres ~27 (4.5/yr). CAL FIRE pages omit some federal-responsibility fires (e.g., Bobcat), so counts are floors. Exposure caveat: fire-closure risk is concentrated on WUI/mountain edges (SR-2, SR-39, I-5 Newhall/Castaic, PCH, SR-14); an urban-basin edge has near-zero burn probability. Use FRAP burn-probability rasters per edge instead of uniform area scaling if edges are fixed. | county-wide qualifying fires / yr (2020-2025) | x area factor (0.0831) | 1.2648e-05 | Derived | Empirical (news/Caltrans closure records) | 4 | 3.162e-06 | 1
14 | Wildfire - >= 3 edges closed simultaneously (Palisades / Saddleridge level) | >=3 edges | high - regional diversion, evacuation traffic | 0.19231 | 2.1953e-05 | 1.8242e-06 | Freeway closures: hours to ~1-2 days (Saddleridge 2019: I-5, SR-14, I-210 closed overnight; most reopened next day). Arterials/PCH: weeks to months. Evacuation surge: ~1-3 days. | LA Times 11 Oct 2019 Saddleridge freeway closures [S31]; CAL FIRE top-20 destructive fires (user's source) [S32]; CAL FIRE 2025 incidents (Palisades, Eaton, Hughes) [S25]; Zehra & Wong 2024 systematic review (81 CA highway-damaging fires 2015-2020) [S33]. | Derived: county-level fire events since 2000 that closed >= 3 major highway edges at once: Oct 2007 (Buckweed/Ranch/Magic: I-5, SR-14, SR-126 - NOT re-verified here), Sayre 2008 (I-5/SR-14/SR-210), Woolsey 2018 (US-101, PCH, canyon roads), Saddleridge 2019 (I-5, SR-14, I-210, SR-118 connectors - verified), Palisades/Eaton Jan 2025 -> ~5 in 26 yr = 0.19/yr (range 0.1-0.3). Your draft's 0.6/yr from the top-20 destructive list is not reproducible: that list has 6 LA County entries over 1961-2025 (~0.09/yr). These events coincide with Santa Ana wind days (Oct-Jan) and with PSPS (row 12) and MED (row 10) - model as a common-cause 'wind event' rather than independent hazards. | county-wide multi-edge fire events / yr (2000-2025) | x area factor (0.0831) | 1.8242e-06 | Derived | Empirical (news closure records) | n/a (system / regional / fleet event) | 1.8242e-06
15 | Flood - edge in 100-yr floodplain impassable | edge | mid - edge closed | 0.008 | 9.1324e-07 | 9.1324e-07 | Hours to 1-2 days (flash-flood / debris on roadway); longer if pavement or bridge damaged. | FEMA IS-0273 / flood-zone AEP definitions (user's footnotes) [S34]; Caltrans District 7 emergency closures (user's source) [S30]. | Kept your logic: P(edge inundated) = 1% - 0.2% = 0.8%/yr applies ONLY to edges inside the 1%-AEP SFHA (Zone A/AE/AO), not to all edges - so 'after scaling' should be x (number of edges in SFHA), not x area ratio. GAP: an empirical LA County count of weather-related road closures per year was not obtained (NCEI Storm Events database 'Flash Flood' events for LA County, or Caltrans LCS emergency-closure history, would give it). Note LA's engineered channels mean most urban flooding is local ponding (hours), not floodplain inundation. | per SFHA edge-year | none (per-edge or per-fleet basis; see notes) | 9.1324e-07 | PEMS Def | Assumption | 1 | 9.1324e-07
16 | Flood - 500-yr regional event, >= 3 edges impassable | >=3 edges | high | 0.002 | 2.2831e-07 | 2.2831e-07 | 1-3 days (regional storm; e.g., Feb 2024 atmospheric river closed multiple LA canyon roads and I-5 Grapevine for ~1 day). | FEMA 0.2%-AEP definition (user's footnote) [S34]. | Kept your value. 0.2%/yr is the exceedance probability for the 500-yr flood at a point; the probability that >= 3 specific edges are simultaneously closed is a joint event that needs edge-level flood-zone exposure. GAP: no LA County-specific multi-road flood closure frequency found; suggest NCEI Storm Events (LA County, 'Flood' + 'Flash Flood' events 2000-2025) as the empirical base. | per region-year (500-yr AEP) | none (per-edge or per-fleet basis; see notes) | 2.2831e-07 | PEMS Def | Assumption | n/a (system / regional / fleet event) | 2.2831e-07
18 | Earthquake M >= 6.7, LA region - >= 3 edges damaged | >=3 edges | high - weeks to months | 0.030543 | 3.4866e-06 | 3.4866e-06 | Weeks to months for damaged freeways: Northridge 1994 I-10 closed 17 Jan-12 Apr 1994 (84 days; 66-day reconstruction); I-5/SR-14 interchange rebuilt over months; SR-118 and I-5 Gavin Canyon bridges also collapsed. | USGS UCERF3 FAQ (60% in 30 yr for M >= 6.7, LA region) [S39]; Northridge transportation study (ROSAP DOT-521) [S40]; Wikipedia / EScholarship Northridge economic impacts (freeway closures) [S41]. | lambda = -ln(1-0.60)/30 = 0.0305/yr is REGIONAL (whole LA region), not per model area, so no area scaling. P(>= 3 edges damaged ¦ M >= 6.7) depends on epicentre distance and bridge fragility: Northridge (M6.7) damaged 4 major freeways within ~30 km. For a 10-node network spanning 337 sq mi, treating P(>= 3 edges ¦ event) ~ 0.5-1.0 is defensible only if the network is near the rupture; otherwise use HAZUS bridge fragility per edge. Aftershock-driven re-closures and inspection closures (hours-days) affect all edges immediately after the event even without damage. | regional events / yr (M >= 6.7) | none (regional rate; all nodes exposed) | 3.4866e-06 | Empirical (rate) / Assumption (P(>=3 edges)) | Empirical (Northridge 1994) | n/a (system / regional / fleet event) | 3.4866e-06 | 1
AV-share sensitivity: change Assumptions!C9 (AV share of VMT). Cells that move: F6 (row 1), F9 (row 2), F10 (row 3) via C30 = 1 - C9; F11, F12, F13 (rows 4-6) directly; and every G, H, N, R in those six rows. Nothing else depends on C9.

## Assumptions
Model parameters and shared inputs (edit here; the table recalculates)
Parameter | Value | Unit | Source / note
LA County land area (sq mi) | 4060.3 | sq mi | Meeting slides (slide 4); consistent with US Census county area.
Model region area (10 nodes) (sq mi) | 337.4 | sq mi | Meeting slides: 10 nodes of 120.35 depots at 5% AV demand -> 337.4 sq mi.
Area scaling factor (model / county) | 0.083097 | ratio | Equals 337.4 / 4060.3 = 0.0831. Applied to county-wide, area-distributed hazards (traffic, AV, fire, flood, debris flow). NOT applied to per-customer power indices (already per node) or to regional earthquake rate.
Hours per year | 8760 | h | Non-leap year.
Number of nodes (depots) in model | 10 | nodes | Meeting slides.
AV share of VMT in model | 0.05 | fraction | Meeting slides: 5% AV demand. Used to split human vs AV traffic hazards.
AV/human ratio: police-reported (any) crash rate | 0.44872 | ratio | Kusano et al. 2025 / user footnote (PubMed 39485678): 2.1 vs 4.68 police-reported crashes per M miles, all locations. Used for LOW severity (row 4).
AV/human ratio: any-injury crash rate, Los Angeles | 0.37603 | ratio | Waymo Safety Impact Hub (data through Mar 2026), LA: 0.91 vs 2.42 IPMM (-62%). Used for MID severity (row 5).
AV/human ratio: airbag-deployment crash rate, Los Angeles | 0.22689 | ratio | Waymo Safety Impact Hub, LA: 0.27 vs 1.19 IPMM (-77%). Alternative for row 5.
AV/human ratio: serious-injury-or-worse crash rate | 0.15 | ratio | Kusano et al. 2025 (TIP), LA serious injury+: -85% [39%, 99%] -> 0.15. Hub LA shows 0.00 vs 0.15 (0 events in 51.8M mi); all-locations 0.01/0.23 = 0.04. 0.15 used as conservative value (row 6).
PDO share of police-reported crashes (state highways, LA County 2022) | 0.6659 | fraction | Caltrans 2022 Crash Data on California State Highways, LA County: 26,429 PDO of 39,689 crashes. Used to gross up TIMS fatal+injury counts to all-severity.
LA County fatal+injury crashes per year (TIMS/SWITRS, 2022) | 40449 | crashes/yr | TIMS (UC Berkeley SafeTREC) county total for 2022 as reported by secondary sources (mylawcompany.com; arashlaw.com gives 40,717 for 2023 and 40,389 for 2024). PRIMARY TIMS EXPORT NOT VERIFIED (login required) - flag.
LA County state-highway crashes, all severities (Caltrans 2022) | 39689 | crashes/yr | Caltrans 2022 Crash Data on California State Highways, LA County total (831.7 route-miles, 37,516.6 MVM; 26,429 PDO / 13,006 injury / 254 fatal).
LA County SigAlerts per year (2018) | 2515 | events/yr | CHP data via Crosstown LA: 2,515 SigAlerts in 2018 on 11 LA County freeways (2,239 in 2016). SigAlert = >=1 lane blocked >=30 min.
LA County fatal crashes per year (FARS 2020-2024 avg) | 952.5 | crashes/yr | User's slide 8 (FARS query). Could not re-run FARS API from sandbox (HTTP 403). Cross-check: TIMS/OTS report 868 traffic deaths in LA County in 2022 - same order of magnitude.
SCE SAIFI, unplanned, MED excluded (10-yr avg 2016-2025) | 0.9037 | interruptions/customer-yr | Average of SCE 2025 Annual Electric Reliability Report Table 3 (Working sheet); SCE Table 1 rounds to 0.90. 2023: 0.937; 2024: 0.901; 2025: 0.963.
SCE CAIDI, unplanned, MED excluded (10-yr avg 2016-2025) (min) | 107.321 | min | Average of Table 3 (Working sheet); SCE Table 1 gives 107.32. 2023: 102.31; 2024: 111.25; 2025: 120.79.
SCE SAIFI, unplanned, MED included (10-yr avg 2016-2025) | 1.0871 | interruptions/customer-yr | SCE 2025 report Table 1.
SCE SAIDI, unplanned, MED included (10-yr avg) (min) | 192.045 | min | SCE 2025 report Table 1.
SCE SAIDI, unplanned, MED excluded (10-yr avg) (min) | 97.243 | min | SCE 2025 report Table 1.
SCE planned-outage SAIFI (avg 2023-2025) | 0.31133 | interruptions/customer-yr | Derived: (planned+unplanned SAIFI, MED excl., Table 7) minus (unplanned SAIFI, MED excl., Table 3), SCE 2025 report. 2023: 0.332; 2024: 0.349; 2025: 0.253.
SCE planned-outage CAIDI (avg 2023-2025) (min) | 300.1831 | min | Derived: planned SAIDI / planned SAIFI by year (2023: 330 min; 2024: 247 min; 2025: 323 min).
SCE PSPS events touching LA County per year (2024) | 5 | events/yr | CPUC PSPS post-event reports 2024 involving LA County (Jun, Aug, Sep, Oct, Dec). System-wide SCE PSPS events: 12 (2020), 8 (2023), 20 (2024), 14 (2025) per SCE 2026 PSPS Action Plan.
q = P(>=3 of 10 nodes de-energized ¦ PSPS event) |  | probability | GAP - depends on whether depot nodes sit on PSPS-eligible (HFRA) circuits. Urban LA basin circuits are mostly not PSPS-eligible; foothill/Santa Clarita/Malibu circuits are. Needs SCE circuit map lookup per node.
USGS 30-yr probability of M>=6.7 in LA region (UCERF3) | 0.6 | probability | USGS FAQ (UCERF3): 60% in 30 years (M7: 46%; M7.5: 31%).
Annual rate of M>=6.7, LA region | 0.030543 | events/yr | Poisson conversion: lambda = -ln(1-P)/T = 0.0305/yr.
Human-driver share of VMT (= 1 - AV share) | 0.95 | fraction | Total VMT is held fixed: AVs replace human VMT. Rows 1-3 are multiplied by this; rows 4-6 by C9. CHANGE C9 ONLY.
Collision share of freeway incidents (LA FSP assists, FY2020-21) | 0.164 | fraction | UPDATED: Mauch & Skabardonis 2022, California FSP MIS Annual Report FY2020-21, Los Angeles: 38,887 collision assists of 237,752 (16.4%); mechanical 14.0%, flat tire 16.5%, out of gas 6.5%, debris 2.0%, abandoned 2.4%, overheated 4.7%, other 37.5%. Replaces Giuliano 1989 (11% accidents of CHP-logged incidents, I-10, 1983-85), now kept as a lower-bound cross-check. Caveat: FSP covers patrolled freeway beats in service hours only.
Share of incidents with vehicle in a travel lane (LA FSP, FY2020-21) | 0.103 | fraction | UPDATED: Mauch & Skabardonis 2022, LA: 24,411 of 237,752 assists in lane (10.3%); right shoulder 77.4%, left shoulder 2.3%. Replaces Giuliano 1989 (18% closed >= 1 lane). Range 0.05-0.18 (I-880 1995: 4-5%; Giuliano: 18%).
Rain days per year, downtown LA (>= 0.01 in) | 34.1 | days/yr | NOAA 1991-2020 normals for Los Angeles (Downtown/USC) as tabulated on Wikipedia 'Climate of Los Angeles'; weather.com gives 36. Row 1b.
LA County daily VMT, all public roads, 2022 (thousand veh-mi/day) | 195997.4 | thousand mi/day | OTS Crash Rankings, Los Angeles County 2022 (DVMT field; Caltrans HPMS origin).
LA County freeway annual VMT, 2022 (million veh-mi) | 35488.3 | MVM/yr | Caltrans 2022 Crash Data on CA State Highways, LA County freeway segment travel.
Freeway share of LA County VMT | 0.49607 | fraction | Equals 35,488 / 71,539 MVM = 0.50. Consistent with Tracking California ('nearly half of all VMT on Interstates, freeways and expressways'). Used to justify the freeway/arterial edge split.
Number of edges in model network (ASSUMPTION) | 15 | edges | 10 nodes, average degree 3 -> 15 edges. Planar bounds: tree 9 edges (=C8-1), maximal planar 24 (=3*C8-6). Justification: US urbanized-area street networks average 2.76 streets per node (Boeing 2020, 497 urbanized areas); a depot-level abstraction with degree ~3 is consistent. Override with your actual topology.
Freeway-dominated edges (ASSUMPTION) | 9 | edges | 60% of edges. Freeways carry ~50% of county VMT (C36) but inter-depot trips (~5-10 mi in a 337 sq mi region) are longer than the average trip and freeway-weighted, so a >50% share is assumed. Range 7-11.
Arterial-dominated edges | 6 | edges | Remainder.
Edges crossing the 1%-AEP (100-yr) SFHA (ASSUMPTION) | 1 | edges | Only 4.19 sq mi (0.09%) of LA County is mapped 1%-AEP SFHA (LA County All-Hazards Mitigation Plan 2020) because channels are engineered; but SFHAs are linear (LA / San Gabriel / Rio Hondo river corridors) so a route network of ~90 edge-miles plausibly crosses one. Range 0-2.
Edges in the 0.2%-AEP (500-yr) zone (ASSUMPTION) | 3 | edges | 243.32 sq mi (5.11%) of the county is in the 0.2%-AEP zone (same plan); 5% of 15 edges by area would be <1, but the zone follows the same river/valley corridors that the freeways follow (I-710, I-605, I-5 along the rivers). Range 2-4.
Edges through High / Very High FHSZ (WUI) (ASSUMPTION) | 4 | edges | Very High FHSZ = 386.06 sq mi LRA (8.11%) + 625.01 sq mi SRA (13.13%); High SRA 132.77 sq mi (2.79%) -> 24% of county land (2018 CAL FIRE maps, per LA County PW PEIR and the 2020 Hazard Mitigation Plan). 2025 CAL FIRE maps added >440,000 acres (~690 sq mi) -> ~40%. 4/15 = 27%. If your region is the urban basin, use 1-2; if it includes foothill/Santa Clarita/Malibu depots, 4-6.
High + Very High FHSZ share of LA County land (2018 maps) | 0.2403 | fraction | See row above.
1%-AEP SFHA share of LA County land | 0.0009 | fraction | 4.19 sq mi / 4,760 sq mi total (LA County All-Hazards Mitigation Plan 2020, Sec. 4).
0.2%-AEP zone share of LA County land | 0.0511 | fraction | 243.32 sq mi (same source).
LA County freeway fatal crashes per year (Caltrans 2022) | 210 | crashes/yr | Caltrans 2022 Crash Data on CA State Highways, LA County freeway segment: 210 fatal crashes (254 on all state highways). Subtracted from SigAlerts in row 2 so that fatal freeway crashes are counted once (row 3).
PeMS CHP incidents, District 7, 2025 valid quarters (Q1+Q3+Q4) | 96181 | incidents / 274 days | Caltrans PeMS CHP Incidents > Summary, District 7 (LA + Ventura), all types and severities, user exports 23 Sep 2026. Q2 2025 excluded (PeMS shows 0 incidents on every freeway = data gap). See Working rows 64-73 and 96-120.
PeMS CHP incidents per million VMT (D7, 2025) | 4.0794 | incidents / MVMT | Equals 96,181 / 23,577 MVMT = 4.08 (Q3+Q4 only: 4.55). Per-freeway range ~2.9 (US-101) to ~5.9 (I-110).
LA County CHP-logged freeway incidents per year (PeMS D7 rate x LA freeway VMT) | 144771.8414 | incidents/yr | Cross-check for row 1 freeway component: 4.08 x 35,488 MVMT = ~145,000/yr (Q3+Q4 rate: ~161,000). LOWER BOUND: CHP logs miss many shoulder stops that FSP finds on patrol (83% of LA FSP assists are self-found, Metro OIG 2020).
PeMS CHP incidents per freeway centerline-mile per year (all monitored D7 routes) | 155.9673 | incidents / mi-yr | Average ~156; main LA freeways ~140-350 (Working rows 98-117). Multiply by your freeway-edge length for a per-edge rate (CHP-logged only).

## Working
Intermediate data behind the table
SCE system reliability indices, unplanned outages (SCE 2025 Annual Electric Reliability Report, Table 3; planned+unplanned from Table 7)
Year | SAIDI incl MED | SAIFI incl MED | CAIDI incl MED | SAIDI excl MED | SAIFI excl MED | CAIDI excl MED | P+U SAIDI excl MED | P+U SAIFI excl MED | MED days | MED SAIFI (=C-F) | MED CAIDI min (=(B-E)/K) | Planned SAIFI (=I-F) | Planned CAIDI min (=(H-E)/M)
2016 | 134.48 | 1.1 | 122.26 | 109.98 | 0.994 | 110.69 |  |  |  | 0.106 | 231.1321
2017 | 139.73 | 1.192 | 117.19 | 91.72 | 0.87 | 105.4 |  |  |  | 0.322 | 149.0994
2018 | 136.82 | 0.874 | 156.61 | 71.25 | 0.716 | 99.58 |  |  |  | 0.158 | 415
2019 | 177.97 | 1.04 | 171.17 | 90.75 | 0.866 | 104.75 |  |  |  | 0.174 | 501.2644
2020 | 201.32 | 1.057 | 190.47 | 91.4 | 0.866 | 105.51 | 218.59 | 1.195 |  | 0.191 | 575.4974 | 0.329 | 386.5957
2021 | 179.79 | 1.112 | 161.7 | 103.82 | 0.96 | 108.1 | 319.91 | 1.397 |  | 0.152 | 499.8026 | 0.437 | 494.4851
2022 | 131.13 | 1.08 | 121.45 | 101.03 | 0.964 | 104.83 | 205.83 | 1.285 |  | 0.116 | 259.4828 | 0.321 | 326.4798
2023 | 115.9 | 1.036 | 111.93 | 95.86 | 0.937 | 102.31 | 205.6 | 1.269 | 6 | 0.099 | 202.4242 | 0.332 | 330.5422
2024 | 158.3 | 0.99 | 159.96 | 100.25 | 0.901 | 111.25 | 186.33 | 1.25 | 5 | 0.089 | 652.2472 | 0.349 | 246.6476
2025 | 545.01 | 1.39 | 392.1 | 116.37 | 0.963 | 120.79 | 198.18 | 1.216 | 21 | 0.427 | 1003.8407 | 0.253 | 323.3597
10-yr avg | 192.045 | 1.0871 | 170.484 | 97.243 | 0.9037 | 107.321 |  |  |  | 0.1834 | 516.9138
Note: 2020-2021 planned indices are SCE 'conservative interim estimates'; 2022-2025 use the new meter-data method (not comparable with earlier years). MED threshold T_MED = 2.07 min (2024), 2.04 min (2025) daily SAIDI.
Customers by outage duration, 7 Jan 2025 MED (Metro East; weather + PSPS) - SCE 2025 report Table 17
0-1 h | 1-5 h | 5-10 h | 10-15 h | 15-20 h | 20-24 h | 1-2 d | 2-3 d | 3-4 d | 4-5 d | 5-6 d | 6-7 d | >=7 d | Total
380461 | 131697 | 22453 | 12848 | 23835 | 12966 | 51329 | 62121 | 13782 | 942 | 53 | 734 | 17951 | 731172
52.03% | 18.01% | 3.071% | 1.757% | 3.26% | 1.773% | 7.02% | 8.496% | 1.885% | 0.1288% | 0.007249% | 0.1004% | 2.455% | share
Caltrans 2022 Crash Data on California State Highways - Los Angeles County totals
Segment | Road miles | Travel (MVM) | Crashes total | PDO | Injury | Fatal | Killed | Injured | Crashes / MVM (=E/D) | Crashes / route-mile-yr (=E/C)
Freeway (countywide) | 537 | 35488.3 | 37707 | 25428 | 12069 | 210 | 220 | 17502 | 1.0625 | 70.2179
Non-freeway state hwy | 294.6 | 2028.3 | 1982 | 1001 | 937 | 44 | 47 | 1415 | 0.97717 | 6.7278
All state highways, LA County | 831.7 | 37516.6 | 39689 | 26429 | 13006 | 254 | 267 | 18917 | 1.0579 | 47.7203
Statewide (reference) | 15001.5 | 182117.3 | 147704 | 95171 | 50904 | 1629 | 1772 | 73827 | 0.81104 | 9.8459
Giuliano (1989) I-10 incident characteristics (12-mile section, ADT 250-275k, 1983-85)
Reported incidents per day (CHP logs, 22 days) | 29.6
Share accidents / disablements / other | 11% / 80% / 9%
Accidents per weekday / weekend day | 3.1 / 2.2
Share of incidents closing >=1 lane | 0.18
Share of incidents closing >=2 lanes | 0.02
Accidents: 0 / 1 / 2 / >=3 lanes closed | 59% / 28% / 8% / 5%
Mean duration, all incidents (min) | 37
SD duration (min) | 30
Share cleared <= 1 h / > 2 h | 82% / 2%
Injury accident, lanes closed, day / night (min) | 54 / 66
Disablement, lanes closed (min) | 14-18
Lane-blocking incidents > 2 h, share of all incidents | 0.006
CAL FIRE incident archive - Los Angeles County entries (counts by size; pages omit some federal fires, e.g. Bobcat 2020)
Year | Listed LA County incidents | >= 300 acres | >= 1,000 acres | >= 10,000 acres | Closed a major road >= 24 h (judgement) | Named fires
2020 | 13 | 6 | 3 | 1 | 2 | Lake 31,089; Ranch 2 4,237; Soledad 1,525; Rowher 648; Ridge 321; Johnson 290 (+ Bobcat 115k ac, USFS, not listed)
2021 | 10 | 6 | 1 | 0 | 0 | Palisades 1,202; Tumbleweed 868; North 650; Route 464; Pine 442; Hungry 340
2022 | 5 | 1 | 1 | 0 | 1 | Route 5,208 (I-5 closed)
2023 | 3 | 1 | 0 | 0 | 0 | Agua 421
2024 | 33 | 6 | 3 | 2 | 2 | Bridge 56,030; Post 15,563; Franklin 4,086; Apollo 800; Fork 301; West 300
2025 | 16 | 7 | 5 | 3 | 3 | Palisades 23,448; Eaton 14,021; Hughes 10,425; Canyon 5,370; Kenneth 1,052; Hurst 799; Lidia 348
Total / avg per yr | 80 / 13.3 | 27 / 4.5 | 13 / 2.2 | 6 / 1.0 | 8 / 1.3
Waymo Safety Impact Hub (data through March 2026) - Los Angeles
Outcome | Waymo IPMM | Human benchmark IPMM | Ratio (=C/D) | % difference
Any-injury-reported (LA) | 0.91 | 2.42 | 0.37603 | -62.44%
Airbag deployment, any vehicle (LA) | 0.27 | 1.19 | 0.22689 | -77.28%
Serious injury or worse (LA) | 0 | 0.15 | 0 | -100%
Any-injury-reported (all locations) | 0.71 | 3.91 | 0.18159 | -81.93%
Serious injury or worse (all locations) | 0.01 | 0.23 | 0.043478 | -94.05%
LA rider-only miles through Mar 2026: 51.816M (total 220.6M). Benchmarks are police-reported human rates; any-injury benchmark includes a 32% under-reporting adjustment.
Caltrans PeMS - CHP Incidents > Summary, District 7 (LA + Ventura counties), all incident types and severities, 2025 by quarter (user exports, generated 23 Sep 2026)
Quarter | Days | Incidents (all D7 freeways) | VMT (million, both dirs) | Inc/MVMT | % observed | Status
Q1 (Jan-Mar) | 90 | 23903 | 7693.3 | 3.107 | 22.1 | Used (looks ~30% low vs Q3/Q4 - possible partial feed gap)
Q2 (Apr-Jun) | 91 | 0 | 7938.4 | n/a | 23.3 | EXCLUDED - 0 incidents on every freeway (data gap)
Q3 (Jul-Sep) | 92 | 33982 | 7966.9 | 4.2654 | 20.3 | Used
Q4 (Oct-Dec) | 92 | 38296 | 7916.9 | 4.8372 | 16.3 | Used
2025 valid quarters (Q1+Q3+Q4) | 274 | 96181 | 23577.1 | 4.0794 |  | Primary (Assumptions C47-C48)
Sensitivity: Q3+Q4 only | 184 | 72278 | 15883.8 | 4.5504 |  | If Q1 is under-counted
Annualized D7 incidents (valid quarters x 365/days) |  | 128124.3248 | 31407.4507
Caveats: PeMS VMT covers monitored mainline only and is partly imputed (16-23% observed); counts include advisories, police, weather and congestion entries, not only capacity-reducing incidents; D7 includes Ventura County, so the rate (not the count) is applied to LA County freeway VMT. Per-freeway detail: rows 96-118.
California FSP MIS Annual Report FY2020-21 (Mauch & Skabardonis 2022) - Los Angeles County
Problem type | LA assists | LA share | LA avg on-scene min | Statewide avg min
Collision | 38887 | 16.36% | 24.4 | 16.9
Flat tire | 39281 | 16.52% | 17.8 | 15.2
Mechanical | 33401 | 14.05% | 18.8 | 15.9
Out of gas | 15389 | 6.473% | 12.4 | 10.8
Over heated | 11176 | 4.701% | 16.2 | 13.5
Abandoned | 5758 | 2.422% | 9 | 7.9
Debris removed | 4809 | 2.023% | 10.4 | 8.8
Other (refused, info, unable to locate, etc.) | 89051 | 37.46% | 9.3 | 7.8
Total | 237752 |  | 15.1 | 11.8
Location: in travel lane 24,411 (10.3%); right shoulder 184,085 (77.4%); left shoulder 5,453 (2.3%). Big rigs 12,188 assists (5.1%), 11.5 min on scene.
Caltrans Mile Marker (Sep 2015) - statewide major incidents (CHP + Caltrans respond, >= 1 lane closed), FY2014-15 average clearance (h)
Quarter | Fatal | Big rig | Hazmat | Other
FY15 Q1 | 3.08 | 3.55 | 4.72 | 2.41
FY15 Q2 | 3.37 | 4.55 | 4.53 | 2.61
FY15 Q3 | 3.08 | 4.44 | 5.55 | 2.65
FY15 Q4 | 3.91 | 4.78 | 3.58 | 2.44
Apr-Jun 2015: 280 major incidents, average clearance 3 h 17 min; ~30% cleared < 90 min (goal 50%).
PeMS D7 2025 (Q1+Q3+Q4, 274 days) by freeway, both directions combined - for per-edge rates
Freeway | Centerline mi (in D7) | Incidents | VMT (million) | Inc/MVMT | Inc per mi-yr (x365/274) | Q1 / Q3 / Q4 incidents
I5 | 88.5 | 12682 | 2825.91 | 4.4878 | 190.8916 | 3055/4509/5118
I405 | 48.5 | 11145 | 2732.72 | 4.0784 | 306.1122 | 2828/3925/4392
I10 | 46.8 | 10457 | 2321.13 | 4.5051 | 297.6484 | 2567/3781/4109
US101 | 83.1 | 8773 | 3031.41 | 2.894 | 140.6337 | 2260/2927/3586
I110 | 31.8 | 8316 | 1407.63 | 5.9078 | 348.3611 | 2166/2818/3332
I210 | 52.4 | 7546 | 1857.09 | 4.0633 | 191.835 | 1868/2650/3028
SR60 | 30.6 | 5559 | 1672.66 | 3.3234 | 242.0012 | 1343/2038/2178
I605 | 26.1 | 5498 | 1339.31 | 4.1051 | 280.6122 | 1336/2039/2123
I710 | 24.2 | 4835 | 1126.32 | 4.2927 | 266.1481 | 1314/1657/1864
I105 | 18.1 | 4104 | 825 | 4.9745 | 302.0446 | 943/1509/1652
SR14 | 52.2 | 3670 | 527.45 | 6.958 | 93.6565 | 865/1391/1414
SR91 | 14.7 | 3211 | 766.16 | 4.191 | 290.9814 | 786/1199/1226
SR118 | 48 | 2934 | 906.39 | 3.237 | 81.4256 | 740/929/1265
SR134 | 13.3 | 2360 | 532.57 | 4.4313 | 236.3756 | 628/762/970
SR57 | 12.3 | 2070 | 434.7 | 4.7619 | 224.1855 | 466/795/809
SR170 | 7.6 | 1030 | 255.35 | 4.0337 | 180.5369 | 255/346/429
SR71 | 5 | 544 | 65.62 | 8.2902 | 144.9343 | 122/204/218
SR126 | 47.3 | 428 | 224.76 | 1.9043 | 12.0538 | 103/149/176
SR23 | 32 | 372 | 247.81 | 1.5012 | 15.4859 | 100/140/132
SR90 | 3.3 | 230 | 39.42 | 5.8346 | 92.8445 | 57/71/102
All other monitored D7 routes | 134.7 | 302 | 437.75 | 0.68989 | 2.9866
Total, monitored D7 routes | 820.5 | 96066 | 23577.16 | 4.0745 | 155.9673
Per-mile rates for the main LA freeways run ~140-350 incidents/mi-yr (I-110 highest); the 'all routes' average is diluted by long, low-volume rural routes (SR-126, SR-23, SR-2).

## Sources
Sources (IDs referenced in the table)
ID | Source | URL | Used for | Access / verification note
S1 | Giuliano, G. (1989). Incident characteristics, frequency, and duration on a high volume urban freeway. Transportation Research A 23(5). UC Irvine ITS working paper. | https://escholarship.org/content/qt59m3d34v/qt59m3d34v.pdf | Secondary / lower-bound cross-check for rows 1-2 (replaced by S58 in v4) | Full text read.
S2 | Caltrans (2024). 2022 Crash Data on California State Highways - County summary for Los Angeles County. | https://dot.ca.gov/-/media/dot-media/programs/research-innovation-system-information/documents/annual-collision-data/2022-crash-data-on-cshwy-book-fixed-v2-a11y.pdf | Rows 1, 3; PDO share | Table extracted from PDF.
S3 | TIMS (UC Berkeley SafeTREC) LA County fatal+injury crash counts 2022-2024, as quoted by secondary sources | https://arashlaw.com/how-many-car-accidents-happen-each-day-in-los-angeles/ ; https://mylawcompany.com/los-angeles-car-accident-lawyer/statistics/ | Row 1 F+I crash count (40,449 in 2022; 40,717 in 2023) | SECONDARY - TIMS requires login; please export the county total from tims.berkeley.edu to confirm.
S4 | Skabardonis, Petty, Noeimi, Rydzewski, Varaiya (1995). Freeway Service Patrol Evaluation (I-880). PATH UCB-ITS-PRR-95-5. | https://escholarship.org/content/qt36r1t2m2/qt36r1t2m2.pdf | Row 1 incident rates (~100/MVM, 4% lane-blocking) and durations | Full text read.
S5 | Crosstown LA (2019). SigAlerts up in Los Angeles (CHP data, 2016-2018). | https://xtown.la/2019/02/06/sigalerts-up-in-los-angeles/ | Row 2 rate | Journalistic compilation of CHP data.
S6 | I-710 Big Rig Freeway Service Patrol evaluation (user's footnote; safehighways.org) | https://safehighways.org/ (user-provided) | Row 2 duration check 58-76 min (secondary in v4) | From user's draft; not re-fetched.
S7 | NHTSA FARS 2020-2024, LA County fatal crashes (user's slide 8 query) | https://crashviewer.nhtsa.dot.gov/CrashAPI | Row 3 rate 952.5/yr | API returned HTTP 403 from sandbox - NOT independently re-run.
S8 | Caltrans quick-clearance / major-incident average clearance time 3 h 8 min (user's footnote; verified in earlier session) | https://dot.ca.gov/ (user-provided) | Row 3 duration cross-check 188 min (secondary in v4) | Verified earlier.
S9 | California OTS Crash Rankings - Los Angeles County 2022 and 2023 | https://www.ots.ca.gov/rankings/los-angeles-county-2022/ ; https://www.ots.ca.gov/rankings/los-angeles-county-2023/ | Victim counts (58,147 in 2022; 58,758 in 2023), DVMT | Fetched.
S10 | Waymo Safety Impact Hub (data through March 2026) | https://waymo.com/safety/impact/ | Rows 4-6 AV/human ratios (LA) | Fetched 23 Sep 2026.
S11 | Kusano et al. (2025). Comparison of Waymo rider-only crash rates by crash type to human benchmarks at 56.7 million miles. Traffic Injury Prevention. | https://www.tandfonline.com/doi/10.1080/15389588.2025.2499887 | Rows 4-6 ratios and CIs | Abstract + prior-session extraction; supplementary CSV not downloaded.
S12 | Waymo LLC filing to CPUC (30 Jan 2026) on the 20 Dec 2025 San Francisco power outage | https://docs.cpuc.ca.gov/PublishedDocs/Efile/G000/M597/K305/597305739.PDF | Row 7 stall statistics (829 vehicles, 1,593 stops, 96% self-resolved) | Fetched.
S13 | TechCrunch (30 Jun 2022). Cruise robotaxis blocked traffic for hours on this San Francisco street. | https://techcrunch.com/2022/06/30/cruise-robotaxis-blocked-traffic-for-hours-on-this-san-francisco-street/ | Row 7 event & duration | Snippet.
S14 | LA Times (12 Aug 2023) / SF Standard (13 Aug 2023) - Cruise robotaxis stall in North Beach during Outside Lands | https://www.latimes.com/california/story/2023-08-12/cruise-robotaxis-come-to-a-standstill ; https://sfstandard.com/2023/08/13/cruise-north-beach-stalled-robotaxis-aaron-peskin/ | Row 7 event (~10 vehicles) | Snippets.
S15 | SF Standard (7 Aug 2023; 23 Aug 2023) - Cruise 177 vehicle retrieval events Jan-Jul 2023; fleet sizes | https://sfstandard.com/2023/08/07/california-may-allow-unlimited-robotaxis-how-disruptive-are-they-to-first-responders/ ; https://sfstandard.com/2023/08/23/cruise-waymo-spent-millions-to-lobby-for-free-rein-on-san-francisco-streets/ | Rows 7-8 normalisation | Snippets; California Globe corroborates 300 night/100 day Cruise, 250 Waymo.
S16 | TIME (18 Jan 2024). The main reason EV drivers call AAA is not dead batteries. | https://time.com/6556242/electric-vehicle-aaa-roadside-calls/ | Row 7b (160,000 EV calls 2023; 4% out of charge) | Fetched.
S17 | AAA newsroom (2 Apr 2025) - ~215,000 EV service calls in 2024 (0.8% of events) | https://newsroom.acg.aaa.com/aaa-urges-drivers-to-stay-proactive-on-auto-repair-and-maintenance/ | Row 7b | Snippet.
S18 | LA Metro Freeway Service Patrol (~300,000 assists/yr; 7-min average wait) | https://www.metro.net/riding/fsp/ | Row 7b tow response | Fetched.
S19 | Mission Local (9 Aug 2023). 55 reports of robotaxis interfering with S.F. firefighters. | https://missionlocal.org/2023/08/cruise-waymo-autonomous-vehicle-robot-taxi-driverless-car-reports-san-francisco/ | Row 8 rate and durations | Fetched.
S20 | SFMTA/SFFD presentation to CPUC status conference, 7 Aug 2023 | https://www.sfmta.com/sites/default/files/reports-and-documents/2023/08/2023.08.07_cpuc_status_conference_8.7.2023_final.pdf | Row 8 (~600 incidents since launch; durations minutes to hours) | Fetched.
S21 | SCE (2026). Annual Electric Reliability Report 2025 (Tables 1, 2, 3, 7, 16, 17). | https://www.sce.com/sites/default/files/outage-safety/Annual%20Electric%20Reliability%20Report%202025.pdf | Rows 9-12 | PDF downloaded and parsed.
S22 | SCE (2025). Annual Electric Reliability Report 2024 (Tables 1-3, 7). | https://www.sce.com/sites/default/files/outage-safety/Annual%20Reliability%20Report%202024.pdf | Rows 9-11 cross-check; 2024 MED list | PDF downloaded and parsed.
S23 | SCE 2026 PSPS Action Plan (28 May 2026), CPUC | https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/safety-and-enforcement-division/psps/sce-2026-psps-action-plan_28-may-2026.pdf | Row 12 event counts and restoration | Fetched.
S24 | CPUC PSPS post-event reports (SCE 2024 events involving LA County) | https://www.cpuc.ca.gov/psps/ | Row 12 LA County event count (5 in 2024) | From earlier session review of CPUC report list.
S25 | CAL FIRE incident archives 2020-2025 | https://www.fire.ca.gov/incidents/2020 ... https://www.fire.ca.gov/incidents/2025 | Rows 13-14 fire counts | Fetched all six years; LA County entries listed in Working sheet.
S26 | Caltrans District 7 news release (8 Sep 2022) - Route Fire I-5 repairs; ABC7 (31 Aug 2022) I-5 closed both directions | https://dot.ca.gov/caltrans-near-me/district-7/district-7-news/d7-news-release-northbound-i5-closed ; https://abc7.com/post/brush-fire-castaic-route-wildfire/12183575/ | Row 13 | Snippets.
S27 | AP / ABC7 (22 Jan 2025) - Hughes Fire closed 30 miles of I-5 for several hours; reopened same evening | https://apnews.com/article/california-fires-los-angeles-winds-300bac5d21394adf9d44493c4ccd337b | Row 13 (excluded: < 24 h) | Snippet.
S28 | Governor's office / Fox Weather (22-23 May 2025) - PCH reopens after Palisades Fire closure since 7 Jan 2025 | https://www.gov.ca.gov/2025/05/22/the-pch-is-reopening-governor-newsom-local-partners-will-reopen-the-iconic-roadway-ahead-of-schedule-and-in-time-for-memorial-day-weekend/ | Rows 13-14 duration | Snippet.
S29 | LA Times (6 Sep 2020; 9 Oct 2020) - Bobcat Fire closes Angeles Crest Highway | https://www.latimes.com/california/story/2020-09-06/brush-fire-has-erupted-in-angeles-national-forest-near-cogswell-reservoir | Row 13 | Snippet.
S30 | Caltrans emergency road closures dataset (user's footnote 13) / Caltrans LCS District 7 | https://data.ca.gov/dataset/caltrans-emergency-road-closures ; https://lcswebreports.dot.ca.gov/searchdistricts?district=7 | Rows 13, 15 (potential empirical closure history) | Not parsed - LCS is a live 7-day feed; historical archive would need a data request.
S31 | LA Times (11 Oct 2019). Saddleridge fire closes major freeways (I-5, SR-14, I-210, SR-118 connectors). | https://www.latimes.com/california/story/2019-10-11/saddleridge-fire-closes-four-freeways-causing-hellish-morning-commute | Row 14 | Snippet.
S32 | CAL FIRE Top 20 most destructive California wildfires (user's footnote 14) | https://www.fire.ca.gov/our-impact/statistics | Row 14 (LA County entries) | From user's draft.
S33 | Zehra, A. & Wong, S. (2024). Systematic review of wildfire evacuations. Transportation Planning and Technology. | https://www.tandfonline.com/doi/full/10.1080/03081060.2024.2348713 | Rows 14, 17 (81 CA highway-damaging fires 2015-2020; debris-flow persistence 3 yr) | Slide 6-8 source; fetched.
S34 | FEMA IS-0273 / flood zone AEP definitions (user's footnotes 15-16) | https://training.fema.gov/is/courseoverview.aspx?code=IS-273 | Rows 15-16 | From user's draft.
S35 | Fraser, Chester & Underwood (2020). Wildfire risk, post-fire debris flows, and transportation infrastructure vulnerability. Sustainable and Resilient Infrastructure. | https://www.tandfonline.com/doi/full/10.1080/23789689.2020.1737785 | Row 17 | Slide 6-8 source; abstract read.
S36 | USGS post-fire debris-flow hazard assessments - Palisades and Eaton (2025) | https://data.usgs.gov/datacatalog/data/USGS:6838d17ed4be02592574719a ; https://data.usgs.gov/datacatalog/data/USGS:6838d149d4be025925747189 | Row 17 | Landing pages only.
S37 | CRS Insight IN12507 - Federal assessments and warnings of potential post-fire debris flows (LA 2025) | https://www.congress.gov/crs-product/IN12507 | Row 17 | Snippet.
S38 | California Geological Survey - Debris flows (user's footnote 18) | https://www.conservation.ca.gov/cgs/debris-flows | Row 17 | Fetch blocked (robots); from user's draft.
S39 | USGS FAQ - probability of earthquake in LA / SF (UCERF3) | https://www.usgs.gov/faqs/what-probability-earthquake-will-occur-los-angeles-area-san-francisco-bay-area | Row 18 rate | Snippet (60% M6.7+ in 30 yr).
S40 | Los Angeles Earthquake Transportation Study: Northridge 1994 (ROSAP DOT-521) | https://rosap.ntl.bts.gov/view/dot/521/dot_521_DS1.pdf | Row 18 durations (I-10 rebuilt in 66 days; I-5/SR-14 interchange rebuilt) | Snippet.
S41 | Economic impacts of the Northridge earthquake (eScholarship) and Wikipedia summary of freeway closures | https://escholarship.org/content/qt3vp8940q/qt3vp8940q_noSplash_a93fdef47db196114ca221dc540f326f.pdf ; https://en.wikipedia.org/wiki/1994_Northridge_earthquake | Row 18 | Snippets.
S42 | LAFD FireStatLA station map (slide 7 source) | https://lafd.org/fsla/stations-map?year=2025 | Structure-fire counts (slide 7 idea) | GAP - JavaScript dashboard; no data extracted.
S43 | Norlen, Sharma, Escobedo et al. (2026). Socio-ecological impacts of the 2025 LA urban fires. Nature Communications (slide 6) | https://pubs.usgs.gov/publication/70275365 | Context only | No closure statistics.
S44 | UCLA ITS (2025). Transit riders' evacuation experiences in the 2025 LA fires (slide 6) | https://its.ucla.edu/publication/transit-riders-evacuation-2025-la-fires/ | Context (26% evacuated; half took > 1 h) | Fetched; evacuation only.
S45 | LA County Public Works road closures dashboard (slide 6) | https://pw.lacounty.gov/roadclosures/ | Row 13/15 potential | Live dashboard, no history export.
S46 | CAL FIRE historical fire perimeters (slide 6) | https://data.ca.gov/dataset/california-historical-fire-perimeters | Rows 13-14 (spatial intersection with edges) | ArcGIS REST available; not yet intersected with your edges.
S47 | Hou, Darr & Zhang (2022) TRR; Ahmad et al. (2023) Fire; Wolshon et al. (2026) Maui; Noi, Dodge & Murray (2025) (slides 6-8) | see notes file | Methodological only | No LA rates.
S58 | Mauch, M. & Skabardonis, A. (2022). California's Freeway Service Patrol Program: Management Information System Annual Report FY2020-21. UC ITS. | https://escholarship.org/content/qt88r042s8/qt88r042s8_noSplash_fd06418ef1a26310bb9276d87073cd25.pdf | Row 1 collision share (C31), in-lane share (C32), durations | Fetched; LA tables extracted.
S59 | LA Metro Office of the Inspector General (2020). Review of LA Metro's Freeway Service Patrol Program, 20-AUD-06. | https://0201.nccdn.net/1_2/000/000/139/461/20-aud-06-final-report-on-metro-fsp-program-2020.05.04.pdf | Row 1 cross-check (LA assist duration 17.3 min FY14, 15.9 min FY18; 345,147 assists FY18; 83% self-found) | Fetched.
S60 | Caltrans Mile Marker (Sep 2015). System efficiency relies on incident clearance. | https://dot.ca.gov/-/media/dot-media/programs/risk-strategic-management/documents/mm-2015-q3-incident-clearance-a11y.pdf | Row 3 duration (3 h 17 min; by type) | Fetched. Statewide, not LA-specific.
S61 | Caltrans Traffic Operations Manual, Chapter 130 Traffic Incident Management (July 2025): minor < 30 min, intermediate 30 min-2 h, major > 2 h (CA MUTCD); 90-min major clearance goal. | https://dot.ca.gov/-/media/dot-media/programs/traffic-operations/documents/trafficops/202506-tom-ch-130-traffic-incident-management-a11y.pdf | Rows 1-3 duration classes | Fetched.
S62 | Caltrans PeMS, CHP Incidents > Summary by freeway, District 7, 2025 Q1-Q4, all types and severities (user exports, generated 23 Sep 2026) | https://pems.dot.ca.gov/?report_form=1&dnode=District&content=incidents&tab=inc_summary&district_id=7&s_time_id=1735689600&e_time_id=1743465540&gb=fwy&q2=vmt&severity=sev_all | Row 1 cross-check; Assumptions C47-C50; Working rows 64-73, 96-120 | User-provided PDFs (88 freeway-directions each). Q2 shows 0 incidents everywhere - excluded as a data gap. Link shown is Q1; change the dates for other quarters.
S48 | Climate of Los Angeles - NOAA 1991-2020 normals table (Downtown/USC): 34.1 days/yr with >= 0.01 in precipitation | https://en.wikipedia.org/wiki/Climate_of_Los_Angeles | Row 1b | Fetched. Secondary tabulation of NOAA normals; weather.com quotes 36 days.
S49 | FHWA (2006). Coordinated Freeway and Arterial Operations Handbook, FHWA-HRT-06-095, Fig. 2 'Sources of traffic congestion' (bottlenecks 40%, incidents 25%, weather 15%, work zones 10%, signals 5%, events 5%) | https://www.fhwa.dot.gov/publications/research/operations/its/06095/508caption.cfm | Rows 1b, 1c | Fetched.
S50 | Caltrans District 7 Mobility Performance Report, Q1 2022 (8.5 billion freeway VMT in the quarter; 23 M vehicle-hours of delay, 98.2% in LA County) | https://dot.ca.gov/-/media/dot-media/programs/traffic-operations/documents/mpr/2022/q1/2022-d7-q1.pdf | Row 1c | Fetched.
S51 | Boeing, G. (2020). A multi-scale analysis of 27,000 urban street networks (arXiv 1705.02198): US urbanized areas average 2.76 streets per node (SD 0.16) | https://arxiv.org/html/1705.02198v4 | Edge-count assumption (Assumptions C37) | Fetched.
S52 | County of Los Angeles All-Hazards Mitigation Plan (approved May 2020): 1%-AEP SFHA 4.19 sq mi (0.09%), 0.2%-AEP 243.32 sq mi (5.11%); FHSZ Very High LRA 386.06 sq mi (8.11%), Very High SRA 625.01 sq mi (13.13%), High SRA 132.77 sq mi (2.79%); 95% of rain Nov-Apr | https://ceo.lacounty.gov/wp-content/uploads/2022/04/County-of-Los-Angeles-All-Hazards-Mitigation-Plan-APPROVED-05-2020.pdf | Edge exposure assumptions (C40-C45) | Fetched.
S53 | LA County Public Works, Safe Clean Water Program PEIR Sec. 3.19 Wildfire (same FHSZ areas as S52) | https://pw.lacounty.gov/swq/peir/doc/PEIR-doc/3.19-Wildfire.pdf | Edge exposure assumption (C42) | Fetched.
S54 | Temporary Losses of Highway Capacity and Impacts on Performance (ROSAP DOT-26855), Table 4.1 portion of freeway capacity available under incident conditions (Lindley 1986) and Goolsby 1971 / Smith 2003 values | https://rosap.ntl.bts.gov/view/dot/26855/dot_26855_DS1.pdf | Row 1 capacity effects | Fetched.
S55 | LA Times (24 Mar 2025). New CAL FIRE hazard maps add >440,000 acres to LA County hazard zones (+30% in the highest class) | https://www.latimes.com/environment/story/2025-03-24/new-fire-hazard-maps-for-los-angeles-and-southern-california | Edge exposure assumption (C42) | Snippet.
S56 | Tracking California - Traffic Volumes (nearly half of California VMT on Interstates, freeways and expressways; LA County = 23% of state VMT) | https://trackingcalifornia.org/topics/transportation-equity/traffic-volumes | Freeway share cross-check (C36) | Fetched.
S57 | Caltrans Facts 2022 booklet (state AVMT by system, 2020) | https://dot.ca.gov/-/media/dot-media/programs/research-innovation-system-information/documents/caltrans-fact-booklets/2022-caltrans-factsv2-a11y.pdf | Context (VMT shares) | Snippet.